## GCG Data Center Power Whips
#VALUE! | GCG Data Center Power Whips Configurator | [69 empty] | #VALUE!
Email completed form to: | whips@gogcg.com
Instructions: | Fill out the white cells to configure power whips and entry requirements.
Customer Contact Details:
Customer Project:
Other details:
Configurator Revision: | 16
Power Whip # | POWER WHIP INFORMATION |  |  | SYSTEM PARAMETERS |  |  |  | FIRST RECEPTACLE / PLUG / CONNECTOR | [9 empty] | MOUNTING HARDWARE |  | CABLE & LIQUID-TIGHT FLEXIBLE METAL CONDUIT (LFMC) | [36 empty] | CIRCUIT BREAKER |  |  | SECOND RECEPTACLE / PLUG / CONNECTOR | [10 empty] | COMMENTS | [10 empty] | Item LIST | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | Conductor Properties - NEC Table 310.15(B)(16) - COPPER 90°C & Conductor Properties - NEC Chapter 9 - Table 8 |  |  | Conductor Properties - NEC Table 310.15(B)(16) - COPPER 90°C & Conductor Properties - NEC Chapter 9 - Table 8 |  |  | Ambient Temperature Correction Factors Based on 30°C (86°F) - NEC Table 310.15(B)(2)(a) |  | Adjustment Factors for More Than Three Current-Carrying Conductors - NEC Table 310.15(B)(3)(a) |  | Dimensions of Insulated Conductors and Fixture Wires, THHN, THWN, THWN-2 - NEC Chapter 9 - Table 5 |  | Dimensions of Insulated Conductors and Fixture Wires, XHHW / XHHW-2 - NEC Chapter 9 - Table 5 |  | Liquid-Tight Flexible Metal Conduit (LFMC) - NEC Chapter 9 -Table 4
| Panel | Circuit | Location | Voltage Rating (VAC) | Amperage Rating (A) | Phase | Maximum Ambient Temperature (°F) | Part Number | Type | Brand | Housing Color | Label info "Receptacle / Plug / Connector" | Voltage Rating (VAC) | Amperage Rating (A) | Phase | Number of Poles | Total Number of Wires | Mounting hardware type | Size of beam/bolt/clamp | Cable Length (Feet) | Wire Insulation Type | Total Number of Wires | Preferred Conductor Gauge (AWG) | Ambient Temperature Correction Factor | Adjustment Factors Current-Carrying Conductors | Ampacity (A) | Wire Gauge for Amperage at 75(°C) | Wire Gauge for Ampacity at 90(°C) | Phase factor for Voltage Drop | Voltage Drop 18 AWG | Voltage Drop 16 AWG | Voltage Drop 14 AWG | Voltage Drop 12 AWG | Voltage Drop 10 AWG | Voltage Drop 8 AWG | Voltage Drop 6 AWG | Voltage Drop 4 AWG | Voltage Drop 3 AWG | Voltage Drop 2 AWG | Voltage Drop 1 AWG | Wire Gauge for VD < 3% | Suggested Minimum Conductor Gauge (AWG) | Preferred Trade Size (Inch) | Conductor Gauge (AWG) | Total Wire Area (in2) THHN / THWN / THWN-2 | Total Wire Area (in2) XHHW / XHHW-2 | Total Conduit for 40% fill ratio THHN / THWN / THWN-2 | Total Conduit for 40% fill ratio XHHW / XHHW-2 | Suggested Conduit Trade Size (Inch) THHN / THWN / THWN-2 | Suggested Conduit Trade Size (Inch) XHHW / XHHW-2 | OD (Inch) THHN / THWN / THWN-2 | OD (Inch) XHHW / XHHW-2 | Suggested Conduit Trade Size (Inch) THHN / THWN / THWN-2 | Suggested Conduit Trade Size (Inch) XHHW / XHHW-2 | Suggested Minimum Conduit Trade Size (Inch) | Color | Circuit Breaker Brand & Style | Amperage (A) | Number of Poles | Part Number | Type | Brand | Housing Color | Label info "Receptacle / Plug / Connector" | Voltage Rating (VAC) | Amperage Rating (A) | Phase | Number of Poles | Total Number of Wires | MESSAGES | Notes | Messages | Brand | Wire Gauge (AWG) | Insulation Type | Phase | Conduit Size | System Voltage (V) | Mounting Hardware | Mounting Hardware Size (Inch) | Circuit Breaker |  | Receptacle / Plug / Connector | Type | Housing Color | Brand | Voltage Rating (VAC) | Amperage Rating | Phase | Number of Poles | Number of Wires | Wire Size AWG | Conduit Size | 75°C Ampacity (A) | AWG Size | Circular Mils (cmil) | 90°C Ampacity (A) | AWG Size | Circular Mils (cmil) | Max Ambient Temp (°F) | Factor | Number of Wires | Factor | AWG Size | Circular Mils (cmil) | AWG Size | Circular Mils (cmil) | Conduit inner OD | Circular Mils (cmil) | Trade Size
1 | [71 empty] | First P/N compatible with second P/N | Please select preferred brand | Please select wire gauge | Please select insulation type | Please select phase | Please select conduit size | Please select system voltage (VAC) | Please select mounting hardware type | Please select mounting hardware size (Inch) | Please select circuit breaker | 1 | Pigtail | N/A | N/A | N/A | N/A | N/A | N/A | Please enter your requirement | Please enter your requirement |  |  | 1 | 14 | 4110 | 1 | 14 | 4110 | 30 | 1 | 1 | 1 | 14 | 0.0097 | 14 | 0.0139 | 0.494 | 0.19167 | 3/8"
2 | [71 empty] | POSSIBLE INCOMPATIBILITY BETWEEN FIRST & SECOND P/N | N/A | I don't know | THHN / THWN / THWN-2 | Single | I don't know | 120 | Other | N/A | N/A | 2 | Other | Please enter part number | N/A | N/A | Please enter your requirement | Please enter your requirement | Please enter your requirement | Please enter your requirement | Please enter your requirement |  |  | 2 | 14 | 4110 | 2 | 14 | 4110 | 31 | 1 | 2 | 1 | 12 | 0.0133 | 12 | 0.0181 | 0.632 | 0.31371 | 1/2"
3 | [71 empty] | Custom built | ABB | 14 | XHHW / XHHW-2 | Three | 3/8" | 125 | B-Line Conduit Hanger | 3/4" | Other | 3 | 1420R1 | Receptacle | N/A |  | 120/208 | 30 | Single | 2 | 4 |  |  | 3 | 14 | 4110 | 3 | 14 | 4110 | 32 | 1 | 3 | 1 | 10 | 0.0211 | 10 | 0.0243 | 0.83 | 0.54106 | 3/4"
4 | [71 empty] | Please enter your requirement | Arrow Hart Eaton | 12 |  |  | 1/2" | 208 | B-Line Flange Beam Clamp | 1" | ABB Pro Line | 4 | 1430R1 | Receptacle | N/A |  | 120/208 | 30 | Single | 2 | 4 |  |  | 4 | 14 | 4110 | 4 | 14 | 4110 | 33 | 1 | 4 | 0.8 | 8 | 0.0366 | 8 | 0.0437 | 1.054 | 0.87251 | 1"
5 | [71 empty] | Please select preferred brand | Eaton | 10 |  |  | 3/4" | 220 | C50 Bracket | 1-1/4" | ABB Pro Line Left | 5 | 1450R1 | Receptacle | N/A |  | 120/208 | 50 | Single | 2 | 4 |  |  | 5 | 14 | 4110 | 5 | 14 | 4110 | 34 | 1 | 5 | 0.8 | 6 | 0.0507 | 6 | 0.059 | 1.395 | 1.5284 | 1-1/4"
6 | [71 empty] | Please select wire gauge | Generic brand | 8 |  |  | 1" | 240 | Cast Beam Clamp | 1-1/2" | ABB Pro Line Right | 6 | 320C6W | Connector | Blue |  | 250 | 20 | Single | 2 | 3 |  |  | 6 | 14 | 4110 | 6 | 14 | 4110 | 35 | 1 | 6 | 0.8 | 4 | 0.0824 | 4 | 0.0814 | 1.588 | 1.9806 | 1-1/2"
7 | [71 empty] | Please select conduit size | Harting | 6 |  |  | 1-1/4" | 250 | Mounting Ears | 2" | Allen-Bradley | 7 | 330C6W | Connector | Blue |  | 250 | 30 | Single | 2 | 3 |  |  | 7 | 14 | 4110 | 7 | 14 | 4110 | 36 | 1 | 7 | 0.7 | 3 | 0.0973 | 3 | 0.0962 | 2.033 | 3.2461 | 2"
8 | [71 empty] | Please select insulation type | Hubbell | 4 |  |  | 1-1/2" | 277 | Mounting Plate | 2-1/2" | CH BAB (Bolt-In) | 8 | 330P6W | Plug | Blue |  | 250 | 30 | Single | 2 | 3 |  |  | 8 | 14 | 4110 | 8 | 14 | 4110 | 37 | 1 | 8 | 0.7 | 2 | 0.1158 | 2 | 0.1146 | 2.493 | 4.8813 | 2-1/2"
9 | [71 empty] | Leave blank | Leviton | 2 |  |  | 2" | 480 | Pedestal Clamp with nut | 3" | Eaton GHB | 9 | 330R6W | Receptacle | Blue |  | 250 | 30 | Single | 2 | 3 |  |  | 9 | 14 | 4110 | 9 | 14 | 4110 | 38 | 1 | 9 | 0.7 | 1 | 0.1562 | 1 | 0.1534 | 3.085 | 7.4748 | 3"
10 | [71 empty] | Please enter part number | Leviton | 1 |  |  | 2-1/2" | 600 | Pedestal Clamp without nut | 4" | Eaton QBHW | 10 | 360C6W | Connector | Blue |  | 250 | 60 | Single | 2 | 3 |  |  | 10 | 14 | 4110 | 10 | 14 | 4110 | 39 | 1 | 10 | 0.5 |  |  |  |  | 3.52 | 9.7314 | 3-1/2"
11 | [71 empty] | Please select system voltage (VAC) | MELTRIC |  |  |  | 3" |  | Uni-Strut Bolt Double |  | GE THHQB (Bolt-In) 22kAIC | 11 | 4100C9W | Connector | Blue |  | 250 | 100 | Three | 3 | 4 |  |  | 11 | 14 | 4110 | 11 | 14 | 4110 | 40 | 1 | 11 | 0.5 |  |  |  |  | 4.02 | 12.6923 | 4"
12 | [71 empty] | Please enter system amperage (A) | MENNEKES |  |  |  | 3-1/2" |  | Uni-Strut Bolt Single |  | GE THQ (Plug-In) | 12 | 420C9W | Connector | Blue |  | 208 | 20 | Three | 3 | 4 |  |  | 12 | 14 | 4110 | 12 | 14 | 4110 | 41 | 1 | 12 | 0.5
13 | [71 empty] | Please enter maximum system ambient temperature (°F) | Molex |  |  |  | 4" |  |  |  | GE THQB (Bolt-In) 10kAIC | 13 | 430C7W | Connector | Red |  | 480 | 30 | Three | 3 | 4 |  |  | 13 | 14 | 4110 | 13 | 14 | 4110 | 42 | 1 | 13 | 0.5
14 | [71 empty] | Calculation needed | Phoenix Contact | [7 empty] | LZ-PL | 14 | 430C9W | Connector | Blue |  | 250 | 30 | Three | 3 | 4 |  |  | 14 | 14 | 4110 | 14 | 14 | 4110 | 43 | 1 | 14 | 0.5
15 | [71 empty] | Please select insulation type | Russellstoll by ABB | [7 empty] | LZ-S | 15 | 430P7W | Plug | Red |  | 480 | 30 | Three | 3 | 4 |  |  | 15 | 14 | 4110 | 15 | 14 | 4110 | 44 | 1 | 15 | 0.5
16 | [71 empty] | Please enter cable length (Feet) | Walther Electric | [7 empty] | Siemens | 16 | 430R7W | Receptacle | N/A |  | 480 | 30 | Three | 3 | 4 |  |  | 16 | 14 | 4110 | 16 | 14 | 4110 | 45 | 1 | 16 | 0.5
17 | [71 empty] | Please select mounting hardware type | [8 empty] | SqD EDB | 17 | 460C9VO | Connector | Blue |  | 208 | 60 | Three | 3 | 4 |  |  | 17 | 14 | 4110 | 17 | 14 | 4110 | 46 | 1 | 17 | 0.5
18 | [71 empty] | Please select mounting hardware size (Inch) | [8 empty] | SqD EGB | 18 | 460C9W | Connector | Blue |  | 208 | 60 | Three | 3 | 4 |  |  | 18 | 14 | 4110 | 18 | 14 | 4110 | 47 | 1 | 18 | 0.5
19 | [71 empty] | Please select circuit breaker | [8 empty] | SqD EJB | 19 | 5100C9W | Connector | Blue |  | 208 | 100 | Three | 3 | 5 |  |  | 19 | 14 | 4110 | 19 | 14 | 4110 | 48 | 1 | 19 | 0.5
20 | [71 empty] | Please select phase | [8 empty] | SqD QO (Plug-In) | 20 | 515R1 | Receptacle | N/A |  | 120 | 15 | Single | 1 | 3 |  |  | 20 | 14 | 4110 | 20 | 14 | 4110 | 49 | 1 | 20 | 0.5
21 | [80 empty] | SqD QOB (Bolt-In) 10kAIC | 21 | 515R2 | Receptacle | N/A |  | 120 | 15 | Single | 1 | 3 |  |  | 21 | 12 | 6530 | 21 | 14 | 4110 | 50 | 1 | 21 | 0.45
22 | [80 empty] | SqD QOB-FS (Bolt-In) | 22 | 515R4 | Receptacle | N/A |  | 120 | 15 | Single | 1 | 3 |  |  | 22 | 12 | 6530 | 22 | 14 | 4110 | 51 | 1 | 22 | 0.45
23 | [80 empty] | SqD QOB-VH (Bolt-In) 22kAIC | 23 | 520P9W | Plug | Blue |  | 120/208 | 20 | Three | 4 | 5 |  |  | 23 | 12 | 6530 | 23 | 14 | 4110 | 52 | 1 | 23 | 0.45
24 | [80 empty] | SqD QOB-VH-FS (Bolt-In) | 24 | 520R1 | Receptacle | N/A |  | 120 | 20 | Single | 1 | 3 |  |  | 24 | 12 | 6530 | 24 | 14 | 4110 | 53 | 1 | 24 | 0.45
25 | [80 empty] | SqD QO-FS | 25 | 520R2 | Receptacle | N/A |  | 120 | 20 | Single | 1 | 3 |  |  | 25 | 12 | 6530 | 25 | 14 | 4110 | 54 | 1 | 25 | 0.45
26 | [81 empty] | 26 | 520R4 | Receptacle | N/A |  | 120 | 20 | Single | 1 | 3 |  |  | 26 | 10 | 10380 | 26 | 12 | 6530 | 55 | 1 | 26 | 0.45
27 | [81 empty] | 27 | 520R9W | Receptacle | N/A |  | 120/208 | 20 | Three | 4 | 5 |  |  | 27 | 10 | 10380 | 27 | 12 | 6530 | 56 | 1 | 27 | 0.45
28 | [81 empty] | 28 | 530P9W | Plug | Blue |  | 120/208 | 30 | Three | 4 | 5 |  |  | 28 | 10 | 10380 | 28 | 12 | 6530 | 57 | 1 | 28 | 0.45
29 | [81 empty] | 29 | 530R1 | Receptacle | N/A |  | 120 | 30 | Single | 1 | 3 |  |  | 29 | 10 | 10380 | 29 | 12 | 6530 | 58 | 1 | 29 | 0.45
30 | [81 empty] | 30 | 530R9W | Receptacle | N/A |  | 120/208 | 30 | Three | 4 | 5 |  |  | 30 | 10 | 10380 | 30 | 12 | 6530 | 59 | 1 | 30 | 0.45
31 | [81 empty] | 31 | 532C6W | Connector | Red |  | 240/415 | 32 | Three | 4 | 5 |  |  | 31 | 10 | 10380 | 31 | 10 | 10380 | 60 | 1 | 31 | 0.4
32 | [81 empty] | 32 | 550R1 | Receptacle | N/A |  | 120 | 50 | Single | 1 | 3 |  |  | 32 | 10 | 10380 | 32 | 10 | 10380 | 61 | 1 | 32 | 0.4
33 | [81 empty] | 33 | 560C9W | Connector | Blue |  | 208 | 60 | Three | 3 | 5 |  |  | 33 | 10 | 10380 | 33 | 10 | 10380 | 62 | 1 | 33 | 0.4
34 | [81 empty] | 34 | 560P9W | Plug | Blue |  | 120/208 | 60 | Three | 4 | 5 |  |  | 34 | 10 | 10380 | 34 | 10 | 10380 | 63 | 1 | 34 | 0.4
35 | [81 empty] | 35 | 560R9W | Receptacle | N/A |  | 120/208 | 60 | Three | 4 | 5 |  |  | 35 | 10 | 10380 | 35 | 10 | 10380 | 64 | 1 | 35 | 0.4
36 | [81 empty] | 36 | 563C6W(40Amp) | Connector | Red |  | 380/415 | 40 | Three | 4 | 5 |  |  | 36 | 8 | 16510 | 36 | 10 | 10380 | 65 | 1 | 36 | 0.4
37 | [81 empty] | 37 | 615R1 | Receptacle | N/A |  | 208 | 15 | Single | 2 | 3 |  |  | 37 | 8 | 16510 | 37 | 10 | 10380 | 66 | 1 | 37 | 0.4
38 | [81 empty] | 38 | 615R2 | Receptacle | N/A |  | 208 | 15 | Single | 2 | 3 |  |  | 38 | 8 | 16510 | 38 | 10 | 10380 | 67 | 1 | 38 | 0.4
39 | [81 empty] | 39 | 615R4 | Receptacle | N/A |  | 208 | 15 | Single | 2 | 3 |  |  | 39 | 8 | 16510 | 39 | 10 | 10380 | 68 | 1 | 39 | 0.4
40 | [81 empty] | 40 | 620R1 | Receptacle | N/A |  | 208 | 20 | Single | 2 | 3 |  |  | 40 | 8 | 16510 | 40 | 10 | 10380 | 69 | 1 | 40 | 0.4
41 | [81 empty] | 41 | 620R4 | Receptacle | N/A |  | 208 | 20 | Single | 2 | 3 |  |  | 41 | 8 | 16510 | 41 | 8 | 16510 | 70 | 1 | 41 | 0.35
42 | [81 empty] | 42 | 630R1 | Receptacle | N/A |  | 208 | 30 | Single | 2 | 3 |  |  | 42 | 8 | 16510 | 42 | 8 | 16510 | 71 | 1 | 42 | 0.35
43 | [81 empty] | 43 | 9C23U0 | Connector | Yellow |  | 600 | 20 | Three | 3 | 4 |  |  | 43 | 8 | 16510 | 43 | 8 | 16510 | 72 | 1 | 43 | 0.35
44 | [81 empty] | 44 | 9C23U2 | Connector | Yellow |  | 250 | 20 | Three | 3 | 4 |  |  | 44 | 8 | 16510 | 44 | 8 | 16510 | 73 | 1 | 44 | 0.35
45 | [81 empty] | 45 | 9C23U3 | Connector | Yellow |  | 277 | 20 | Three | 3 | 4 |  |  | 45 | 8 | 16510 | 45 | 8 | 16510 | 74 | 1 | 45 | 0.35
46 | [81 empty] | 46 | 9C23U4 | Connector | Yellow |  | 480 | 20 | Three | 3 | 4 |  |  | 46 | 8 | 16510 | 46 | 8 | 16510 | 75 | 1 | 46 | 0.35
47 | [81 empty] | 47 | 9C23U5 | Connector | Yellow |  | 600 | 20 | Three | 3 | 4 |  |  | 47 | 8 | 16510 | 47 | 8 | 16510 | 76 | 1 | 47 | 0.35
48 | [81 empty] | 48 | 9C24U0 | Connector | Yellow |  | 600 | 20 | Single | 2 | 3 |  |  | 48 | 8 | 16510 | 48 | 8 | 16510 | 77 | 1 | 48 | 0.35
49 | [81 empty] | 49 | 9C24U1 | Connector | Yellow |  | 125 | 20 | Single | 2 | 3 |  |  | 49 | 8 | 16510 | 49 | 8 | 16510 | 78 | 1 | 49 | 0.35
50 | [81 empty] | 50 | 9C24U2 | Connector | Yellow |  | 250 | 20 | Single | 2 | 3 |  |  | 50 | 8 | 16510 | 50 | 8 | 16510 | 79 | 1 | 50 | 0.35
51 | [81 empty] | 51 | 9C24U4 | Connector | Yellow |  | 480 | 20 | Single | 2 | 3 |  |  | 51 | 6 | 26240 | 51 | 8 | 16510 | 80 | 1 | 51 | 0.35
52 | [81 empty] | 52 | 9C24U5 | Connector | Yellow |  | 600 | 20 | Single | 2 | 3 |  |  | 52 | 6 | 26240 | 52 | 8 | 16510 | 81 | 1 | 52 | 0.35
53 | [81 empty] | 53 | 9C33U0 | Connector | Yellow |  | 600 | 30 | Three | 3 | 4 |  |  | 53 | 6 | 26240 | 53 | 8 | 16510 | 82 | 1 | 53 | 0.35
54 | [81 empty] | 54 | 9C33U1 | Connector | Yellow |  | 125 | 30 | Three | 3 | 4 |  |  | 54 | 6 | 26240 | 54 | 8 | 16510 | 83 | 1 | 54 | 0.35
55 | [81 empty] | 55 | 9C33U2 | Connector | Yellow |  | 250 | 30 | Three | 3 | 4 |  |  | 55 | 6 | 26240 | 55 | 8 | 16510 | 84 | 1 | 55 | 0.35
56 | [81 empty] | 56 | 9C33U3 | Connector | Yellow |  | 277 | 30 | Three | 3 | 4 |  |  | 56 | 6 | 26240 | 56 | 6 | 26240 | 85 | 1 | 56 | 0.35
57 | [81 empty] | 57 | 9C33U4 | Connector | Yellow |  | 480 | 30 | Three | 3 | 4 |  |  | 57 | 6 | 26240 | 57 | 6 | 26240 | 86 | 1 | 57 | 0.35
58 | [81 empty] | 58 | 9C33U5 | Connector | Yellow |  | 600 | 30 | Three | 3 | 4 |  |  | 58 | 6 | 26240 | 58 | 6 | 26240 | 87 | 0.96 | 58 | 0.35
59 | [81 empty] | 59 | 9C34U0 | Connector | Yellow |  | 600 | 30 | Single | 2 | 3 |  |  | 59 | 6 | 26240 | 59 | 6 | 26240 | 88 | 0.96 | 59 | 0.35
60 | [81 empty] | 60 | 9C34U1 | Connector | Yellow |  | 125 | 30 | Single | 2 | 3 |  |  | 60 | 6 | 26240 | 60 | 6 | 26240 | 89 | 0.96 | 60 | 0.35
61 | [81 empty] | 61 | 9C34U2 | Connector | Yellow |  | 250 | 30 | Single | 2 | 3 |  |  | 61 | 6 | 26240 | 61 | 6 | 26240 | 90 | 0.96 | 61 | 0.35
62 | [81 empty] | 62 | 9C34U4 | Connector | Yellow |  | 480 | 30 | Single | 2 | 3 |  |  | 62 | 6 | 26240 | 62 | 6 | 26240 | 91 | 0.96 | 62 | 0.35
63 | [81 empty] | 63 | 9C34U5 | Connector | Yellow |  | 600 | 30 | Single | 2 | 3 |  |  | 63 | 6 | 26240 | 63 | 6 | 26240 | 92 | 0.96 | 63 | 0.35
64 | [81 empty] | 64 | 9C53U0 | Connector | Yellow |  | 600 | 50 | Three | 3 | 4 |  |  | 64 | 6 | 26240 | 64 | 6 | 26240 | 93 | 0.96 | 64 | 0.35
65 | [81 empty] | 65 | 9C53U1 | Connector | Yellow |  | 125 | 50 | Three | 3 | 4 |  |  | 65 | 6 | 26240 | 65 | 6 | 26240 | 94 | 0.96 | 65 | 0.35
66 | [81 empty] | 66 | 9C53U2 | Connector | Yellow |  | 250 | 50 | Three | 3 | 4 |  |  | 66 | 4 | 41740 | 66 | 6 | 26240 | 95 | 0.96 | 66 | 0.35
67 | [81 empty] | 67 | 9C53U3 | Connector | Yellow |  | 277 | 50 | Three | 3 | 4 |  |  | 67 | 4 | 41740 | 67 | 6 | 26240 | 96 | 0.91 | 67 | 0.35
68 | [81 empty] | 68 | 9C53U4 | Connector | Yellow |  | 480 | 50 | Three | 3 | 4 |  |  | 68 | 4 | 41740 | 68 | 6 | 26240 | 97 | 0.91 | 68 | 0.35
69 | [81 empty] | 69 | 9C53U5 | Connector | Yellow |  | 600 | 50 | Three | 3 | 4 |  |  | 69 | 4 | 41740 | 69 | 6 | 26240 | 98 | 0.91 | 69 | 0.35
70 | [81 empty] | 70 | 9C54U0 | Connector | Yellow |  | 600 | 50 | Single | 2 | 3 |  |  | 70 | 4 | 41740 | 70 | 6 | 26240 | 99 | 0.91 | 70 | 0.35
71 | [81 empty] | 71 | 9C54U1 | Connector | Yellow |  | 125 | 50 | Single | 2 | 3 |  |  | 71 | 4 | 41740 | 71 | 6 | 26240 | 100 | 0.91 | 71 | 0.35
72 | [81 empty] | 72 | 9C54U2 | Connector | Yellow |  | 250 | 50 | Single | 2 | 3 |  |  | 72 | 4 | 41740 | 72 | 6 | 26240 | 101 | 0.91 | 72 | 0.35
73 | [81 empty] | 73 | 9C54U2/C75 | Connector | Yellow |  | 250 | 50 | Single | 2 | 3 |  |  | 73 | 4 | 41740 | 73 | 6 | 26240 | 102 | 0.91 | 73 | 0.35
74 | [81 empty] | 74 | 9C54U4 | Connector | Yellow |  | 480 | 50 | Single | 2 | 3 |  |  | 74 | 4 | 41740 | 74 | 6 | 26240 | 103 | 0.91 | 74 | 0.35
75 | [81 empty] | 75 | 9C54U5 | Connector | Yellow |  | 600 | 50 | Single | 2 | 3 |  |  | 75 | 4 | 41740 | 75 | 6 | 26240 | 104 | 0.91 | 75 | 0.35
76 | [81 empty] | 76 | 9C63U1 | Connector | Yellow |  | 125 | 60 | Three | 3 | 4 |  |  | 76 | 4 | 41740 | 76 | 4 | 41740 | 105 | 0.87 | 76 | 0.35
77 | [81 empty] | 77 | 9C63U2 | Connector | Yellow |  | 250 | 60 | Three | 3 | 4 |  |  | 77 | 4 | 41740 | 77 | 4 | 41740 | 106 | 0.87 | 77 | 0.35
78 | [81 empty] | 78 | 9C64U1 | Connector | Yellow |  | 125 | 60 | Single | 2 | 3 |  |  | 78 | 4 | 41740 | 78 | 4 | 41740 | 107 | 0.87 | 78 | 0.35
79 | [81 empty] | 79 | 9C64U2 | Connector | Yellow |  | 250 | 60 | Single | 2 | 3 |  |  | 79 | 4 | 41740 | 79 | 4 | 41740 | 108 | 0.87 | 79 | 0.35
80 | [81 empty] | 80 | 9R54U2 | Receptacle | N/A |  | 250 | 50 | Three | 4 | 5 |  |  | 80 | 4 | 41740 | 80 | 4 | 41740 | 109 | 0.87 | 80 | 0.35
81 | [81 empty] | 81 | IG 515R1 | Receptacle-(Isolated-Ground) | Orange |  | 125 | 15 | Single | 2 | 3 |  |  | 81 | 4 | 41740 | 81 | 4 | 41740 | 110 | 0.87 | 81 | 0.35
82 | [81 empty] | 82 | IG 515R2 | Receptacle-(Isolated-Ground) | Orange |  | 125 | 15 | Single | 2 | 3 |  |  | 82 | 4 | 41740 | 82 | 4 | 41740 | 111 | 0.87 | 82 | 0.35
83 | [81 empty] | 83 | IG 515R4 | Receptacle-(Isolated-Ground) | Orange |  | 125 | 15 | Single | 2 | 3 |  |  | 83 | 4 | 41740 | 83 | 4 | 41740 | 112 | 0.87 | 83 | 0.35
84 | [81 empty] | 84 | IG 520R1 | Receptacle-(Isolated-Ground) | Orange |  | 125 | 20 | Single | 2 | 3 |  |  | 84 | 4 | 41740 | 84 | 4 | 41740 | 113 | 0.87 | 84 | 0.35
85 | [81 empty] | 85 | IG 520R2 | Receptacle-(Isolated-Ground) | Orange |  | 125 | 20 | Single | 2 | 3 |  |  | 85 | 4 | 41740 | 85 | 4 | 41740 | 114 | 0.82 | 85 | 0.35
86 | [81 empty] | 86 | IG 520R4 | Receptacle-(Isolated-Ground) | Orange |  | 125 | 20 | Single | 2 | 3 |  |  | 86 | 3 | 52620 | 86 | 4 | 41740 | 115 | 0.82 | 86 | 0.35
87 | [81 empty] | 87 | IG 530R1 | Receptacle-(Isolated-Ground) | Orange |  | 125 | 30 | Single | 2 | 3 |  |  | 87 | 3 | 52620 | 87 | 4 | 41740 | 116 | 0.82 | 87 | 0.35
88 | [81 empty] | 88 | IG 615R1 | Receptacle-(Isolated-Ground) | Orange |  | 250 | 15 | Single | 2 | 3 |  |  | 88 | 3 | 52620 | 88 | 4 | 41740 | 117 | 0.82 | 88 | 0.35
89 | [81 empty] | 89 | IG 620R1 | Receptacle-(Isolated-Ground) | Orange |  | 250 | 20 | Single | 2 | 3 |  |  | 89 | 3 | 52620 | 89 | 4 | 41740 | 118 | 0.82 | 89 | 0.35
90 | [81 empty] | 90 | IG 630R1 | Receptacle-(Isolated-Ground) | Orange |  | 250 | 30 | Single | 2 | 3 |  |  | 90 | 3 | 52620 | 90 | 4 | 41740 | 119 | 0.82 | 90 | 0.35
91 | [81 empty] | 91 | IG L1420R1 | Receptacle-(Isolated-Ground-Locking) | Orange |  | 125/250 | 20 | Single | 3 | 4 |  |  | 91 | 3 | 52620 | 91 | 4 | 41740 | 120 | 0.82 | 91 | 0.35
92 | [81 empty] | 92 | IG L1430R1 | Receptacle-(Isolated-Ground-Locking) | Orange |  | 125/250 | 30 | Single | 3 | 4 |  |  | 92 | 3 | 52620 | 92 | 4 | 41740 | 121 | 0.82 | 92 | 0.35
93 | [81 empty] | 93 | IG L1520R1 | Receptacle-(Isolated-Ground-Locking) | Orange |  | 250 | 20 | Three | 3 | 4 |  |  | 93 | 3 | 52620 | 93 | 4 | 41740 | 122 | 0.82 | 93 | 0.35
94 | [81 empty] | 94 | IG L1530R1 | Receptacle-(Isolated-Ground-Locking) | Orange |  | 250 | 30 | Three | 3 | 4 |  |  | 94 | 3 | 52620 | 94 | 4 | 41740 | 123 | 0.76 | 94 | 0.35
95 | [81 empty] | 95 | IG L2120R1 | Receptacle-(Isolated-Ground-Locking) | Orange |  | 120/208 | 20 | Three | 4 | 5 |  |  | 95 | 3 | 52620 | 95 | 4 | 41740 | 124 | 0.76 | 95 | 0.35
96 | [81 empty] | 96 | IG L2130R1 | Receptacle-(Isolated-Ground-Locking) | Orange |  | 120/208 | 30 | Three | 4 | 5 |  |  | 96 | 3 | 52620 | 96 | 3 | 52620 | 125 | 0.76 | 96 | 0.35
97 | [81 empty] | 97 | IG L515R1 | Receptacle-(Isolated-Ground-Locking) | Orange |  | 125 | 15 | Single | 2 | 3 |  |  | 97 | 3 | 52620 | 97 | 3 | 52620 | 126 | 0.76 | 97 | 0.35
98 | [81 empty] | 98 | IG L515R2 | Receptacle-(Isolated-Ground-Locking) | Orange |  | 125 | 15 | Single | 2 | 3 |  |  | 98 | 3 | 52620 | 98 | 3 | 52620 | 127 | 0.76 | 98 | 0.35
99 | [81 empty] | 99 | IG L520R1 | Receptacle-(Isolated-Ground-Locking) | Orange |  | 125 | 20 | Single | 2 | 3 |  |  | 99 | 3 | 52620 | 99 | 3 | 52620 | 128 | 0.76 | 99 | 0.35
100 | [81 empty] | 100 | IG L530R1 | Receptacle-(Isolated-Ground-Locking) | Orange |  | 125 | 30 | Single | 2 | 3 |  |  | 100 | 3 | 52620 | 100 | 3 | 52620 | 129 | 0.76 | 100 | 0.35
[82 empty] | 101 | IG L615R1 | Receptacle-(Isolated-Ground-Locking) | Orange |  | 250 | 15 | Single | 2 | 3 | [8 empty] | 130 | 0.76
[82 empty] | 102 | IG L615R2 | Receptacle-(Isolated-Ground-Locking) | Orange |  | 250 | 15 | Single | 2 | 3 | [8 empty] | 131 | 0.76
[82 empty] | 103 | IG L620R1 | Receptacle-(Isolated-Ground-Locking) | Orange |  | 250 | 20 | Single | 2 | 3 | [8 empty] | 132 | 0.71
[82 empty] | 104 | IG L630R1 | Receptacle-(Isolated-Ground-Locking) | Orange |  | 250 | 30 | Single | 2 | 3 | [8 empty] | 133 | 0.71
[82 empty] | 105 | L1420R1 | Receptacle | N/A |  | 120/208 | 20 | Single | 2 | 4 | [8 empty] | 134 | 0.71
[82 empty] | 106 | L1430R1 | Receptacle | N/A |  | 120/208 | 30 | Single | 2 | 4 | [8 empty] | 135 | 0.71
[82 empty] | 107 | L1520R1 | Receptacle | N/A |  | 208 | 20 | Three | 3 | 4 | [8 empty] | 136 | 0.71
[82 empty] | 108 | L1530R1 | Receptacle | N/A |  | 208 | 30 | Three | 3 | 4 | [8 empty] | 137 | 0.71
[82 empty] | 109 | L2120R1 | Receptacle | N/A |  | 208 | 20 | Three | 3 | 5 | [8 empty] | 138 | 0.71
[82 empty] | 110 | L2130R1 | Receptacle | N/A |  | 208 | 30 | Three | 3 | 5 | [8 empty] | 139 | 0.71
[82 empty] | 111 | L515R1 | Receptacle | N/A |  | 120 | 15 | Single | 1 | 3 | [8 empty] | 140 | 0.71
[82 empty] | 112 | L515R2 | Receptacle | N/A |  | 120 | 15 | Single | 1 | 3 | [8 empty] | 141 | 0.65
[82 empty] | 113 | L520R1 | Receptacle | N/A |  | 120 | 20 | Single | 1 | 3 | [8 empty] | 142 | 0.65
[82 empty] | 114 | L530R1 | Receptacle | N/A |  | 120 | 30 | Single | 1 | 3 | [8 empty] | 143 | 0.65
[82 empty] | 115 | L615R1 | Receptacle | N/A |  | 208 | 15 | Single | 2 | 3 | [8 empty] | 144 | 0.65
[82 empty] | 116 | L615R2 | Receptacle | N/A |  | 208 | 15 | Single | 2 | 3 | [8 empty] | 145 | 0.65
[82 empty] | 117 | L620R1 | Receptacle | N/A |  | 208 | 20 | Single | 2 | 3 | [8 empty] | 146 | 0.65
[82 empty] | 118 | L630R1 | Receptacle | N/A |  | 208 | 30 | Single | 2 | 3 | [8 empty] | 147 | 0.65
[82 empty] | 119 | L715R1 | Receptacle | N/A |  | 208 | 15 | Single | 2 | 3 | [8 empty] | 148 | 0.65
[100 empty] | 149 | 0.65
[100 empty] | 150 | 0.58
[100 empty] | 151 | 0.58
[100 empty] | 152 | 0.58
[100 empty] | 153 | 0.58
[100 empty] | 154 | 0.58
[100 empty] | 155 | 0.58
[100 empty] | 156 | 0.58
[100 empty] | 157 | 0.58
[100 empty] | 158 | 0.58
[100 empty] | 159 | 0.5
[100 empty] | 160 | 0.5
[100 empty] | 161 | 0.5
[100 empty] | 162 | 0.5
[100 empty] | 163 | 0.5
[100 empty] | 164 | 0.5
[100 empty] | 165 | 0.5
[100 empty] | 166 | 0.5
[100 empty] | 167 | 0.5
[100 empty] | 168 | 0.41
[100 empty] | 169 | 0.41
[100 empty] | 170 | 0.41
[100 empty] | 171 | 0.41
[100 empty] | 172 | 0.41
[100 empty] | 173 | 0.41
[100 empty] | 174 | 0.41
[100 empty] | 175 | 0.41
[100 empty] | 176 | 0.41
[100 empty] | 177 | 0.29
[100 empty] | 178 | 0.29
[100 empty] | 179 | 0.29
[100 empty] | 180 | 0.29
[100 empty] | 181 | 0.29
[100 empty] | 182 | 0.29
[100 empty] | 183 | 0.29
[100 empty] | 184 | 0.29
[100 empty] | 185 | 0.29

## Revisions (hidden)
Revision | Date | Changes
Rev8 | 2025-09-11 | Replace "GCG Data Centers Power Whip" by "GCG Data Center Power Whips"
Add a Revision tab
Add a Receptacle - Plug tab
Replace "Receptacle" by "Receptacle & Plug"
Adjust messages
Remove auto selection of wire AWG and conduit size
Include in the Configurator the 5 plugs and 5 receptacles with the Generic P/N.
Make the Generic P/N of the 5 plugs and 5 receptacles appears first on the drop lists of the configurator
Rev9 | 2025-09-11 | Redesign Configurator for Generic P/Ns only
Rev10 | 2025-09-12 | Add Wire Size and Conduit Size
Rev11 | 2025-09-12 | Add whips@gogcg.com
Ready to implement calculations for the Wire Gauge AWG and the Conduit Size (Inch)
Rev12 | 2025-09-15 | Add suggested min Wire Size per NEC and suggested min Conduit Size per NEC
Add POWER WHIP / SYSTEM PARAMETERS
Rev13 | 2025-09-15 | Add Single and Triple phase for Voltage drop calc
Rev14 | 2025-09-15 | Clean up of Receptacle / Plug / Connector + housing color
Label fields implemented
Rev15 | 2025-09-16 | Column I - change Phase to "Three" instead of triple
Column Y - correct typo to "Preferred"
Make Column S a dropdown with the standard Mounting types
Clean up of Receptacle / Plug / Connector
Correct issues on number of wires and number of poles
Remove smaller AWG 14
Correct bugs
Rev16 | 2025-09-17 | replace "GCG Data Centers contact:" with "Email completed from to:"
Adjust Label Fields to match Leominster template
Remove Quantity
Implement size for mounting hardware
Add Circuit Breakers list and selection